## Ventilation Louvre Calculator
|  |  |  | Ventilation & Acoustic Louvre Calculator | [6 empty] | Project:
Date:
Author:
W: www.ventuer.co.nz E: sales@ventuer.co.nz P: +64 9 973 3616
Louvre ID | Louvre Model | Height (mm) | Width (mm) | Volumetric Air Flow Rate (m3/s) | Face Velocity (m/s) | Airflow Direction | Backing Screen Type | Throat Velocity (m/s) | Pressure Loss (Pa) | Active Free Area (%) | Predicted Rain Defence Effectiveness (%) | Rain Defence Effectiveness (BS/EN:13030 Classification) | Aerodynamic Performance (BS/EN:13030 Classification) | Product Link | Notes
LO-01
LO-02
LO-03
LO-04
LO-05
LO-06
LO-07
LO-08
LO-09
LO-10
LO-11
LO-12
LO-13
LO-14
LO-15
LO-16
LO-17
LO-18
LO-19
LO-20
LO-21
LO-22
LO-23
LO-24
LO-25
LO-26
LO-27
LO-28
LO-29
LO-30
LO-31
LO-32
LO-33
LO-34
LO-35
LO-36
LO-37
LO-38
LO-39
LO-40
LO-41
LO-42
LO-43
LO-44
LO-45
LO-46
LO-47
LO-48
LO-49
LO-50

## Calculations (hidden)
Louvre ID | Louvre Model | Height (mm) | Width (mm) | Face Area (M2) | Volumetric Air Flow Rate (m3/s) | Airflow Direction | Bird / Insect Mesh | Frame Thickness | Bottom Blade Height | Blade free area | Face area of test sample (M2) | Active area of test sample (M2) | Active area % of test sample | Actual Face Velocity (m/s) | Actual Volumetric Flow (m3/s) | Throat Velocity (m/s) | Pressure Loss (Pa) | Active Free Area (%) | Predicted Rain Defence Effectiveness (%) | Rain Defence Effectiveness (BS/EN:13030 Classification) | Aerodynamic Performance (BS/EN:13030 Classification) | Active Area (M2) | Active Area (%) | Reduction % From Test | Calculation Face Area (M2) | Actual Free Area (M) | Calculated Face Velocity (m/s) | Bird Mesh Pressure Drop | Insect Mesh Pressure Drop
LO-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | #N/A | #N/A | #N/A | [8 empty] | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #DIV/0! | #DIV/0!
LO-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!
LO-50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [8 empty] | #N/A | #N/A |  | #VALUE! | #N/A | #VALUE! | #DIV/0! | #DIV/0!

## Product Data (hidden)
Louvre Types | VL-55S | VL-104D | VL-77EX | VL-100S | VL-50CM | VL-100CM | VL-2SD | VL-3SD | VL-VF2 | VL-50PL1 | VL-50PL2 | VL-50PL3 | VL-50PL4 | VL-50PL5 | VL-50PL6 | AL-100 | AL-100W | AL-300 | AL-300W | AL-450 | AL-450W | AL-600 | AL-600W | - select -
Louvre Model Notes | The Ventüer VL-55S louvre system is a slim single bank ventilation louvre ideal for small grilles, exhaust vents, louvred doors and mechanical screening. It comes with flanged and channel frame options, and can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-104D louvre system is a single bank drainable ventilation louvre ideal for situations where rain defence is important whilst maintaining a low pressure drop. The flanged perimeter frame incoporates vertical gutters that drain the water away from the individual blades and eject it to the front of the panel. The rear of the louvre can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-77EX louvre system is designed specifically for exhaust situations and provides a low pressure drop allowing maximum airflow with minimum mechanical assistance. It has a low rain defence effectiveness, however this is not typically an issue in exhaust scenarios. The rear of the louvre can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-100S louvre system is a single bank double weather stop ventilation louvre. It has good rain defence and medium pressure drop, making it an excellent choice where the same louvre type need to be used in both exhaust and intake situations. It comes with a flanged perimeter frame, and can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-50CM louvre system is a 50mm screening louvre that shares the same frame and concealed mullion system as are used by the high performing VL-2SD & VL-3SD products. While it does not have a high level of rain defence, it does have a low pressure drop and is ideal for plant screens, exhaust louvres and inactive (blanked-off) sections of double and triple bank systems. | Designed for low-cost visual screening, the Ventüer VL-100CM louvre system is a 100mm clip-fixed louvre that can be attached directly to structural columns or set within a 150mm channel perimeter frame. While it does not have a high level of rain defence, it does have a low pressure drop and is ideal for plant screens and other aread where water ingress is not important. | Best in its class, the Ventüer VL-2SD is a high performing two-stage weather louvre that provides optimum rain defence. The louvre blades are supported on a two-piece pressure equalised mullion system, and bordered by a 150mm frame that ejects captured water to the front of the panel. Like the VL-3SD, it can be combined with the VL-50CM louvre system to provide cost savings in inactive (blanked off) areas, and can also be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-3SD louvre system is a high performing three-stage weather louvre that provides ultimate protection from wind driven rain. The louvre blades are supported on a two-piece pressure equalised mullion system, and bordered by a 150mm frame that ejects captured water to the front of the panel. It can be combined with the VL-50CM louvre system to provide cost savings in inactive (blanked off) areas, and can also be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-VF2 is an ultra-high performing two-stage vertical weather louvre that provides almost 100% rain defence under even extreme weather conditions. The aerodynamically designed blade profiles also provide a low level of pressure loss, ensuring free flow of air. Available in flanged and channel options for easy fitting to different structure types, the 100mm deep frame ejects captured water to the front of the panel. It can be supplied with bird mesh, insect mesh or dust filters fitted to the rear face. | The Ventüer VL-50PL louvre system incorporates a horizontal drainable louvre blade set behind a perforated aluminium facing panel. With six different patterns of facing panel to choose from, this system not only offers great aerodynamic and weather protection performance but also very visually discrete – virtually “disappearing” into the façade with no obvious lineal lines. It comes with flanged and channel frame options, and can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-50PL louvre system incorporates a horizontal drainable louvre blade set behind a perforated aluminium facing panel. With six different patterns of facing panel to choose from, this system not only offers great aerodynamic and weather protection performance but also very visually discrete – virtually “disappearing” into the façade with no obvious lineal lines. It comes with flanged and channel frame options, and can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-50PL louvre system incorporates a horizontal drainable louvre blade set behind a perforated aluminium facing panel. With six different patterns of facing panel to choose from, this system not only offers great aerodynamic and weather protection performance but also very visually discrete – virtually “disappearing” into the façade with no obvious lineal lines. It comes with flanged and channel frame options, and can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-50PL louvre system incorporates a horizontal drainable louvre blade set behind a perforated aluminium facing panel. With six different patterns of facing panel to choose from, this system not only offers great aerodynamic and weather protection performance but also very visually discrete – virtually “disappearing” into the façade with no obvious lineal lines. It comes with flanged and channel frame options, and can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-50PL louvre system incorporates a horizontal drainable louvre blade set behind a perforated aluminium facing panel. With six different patterns of facing panel to choose from, this system not only offers great aerodynamic and weather protection performance but also very visually discrete – virtually “disappearing” into the façade with no obvious lineal lines. It comes with flanged and channel frame options, and can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer VL-50PL louvre system incorporates a horizontal drainable louvre blade set behind a perforated aluminium facing panel. With six different patterns of facing panel to choose from, this system not only offers great aerodynamic and weather protection performance but also very visually discrete – virtually “disappearing” into the façade with no obvious lineal lines. It comes with flanged and channel frame options, and can be fitted with bird mesh, insect mesh or dust filters. | The Ventüer AL-100 louvre system is a slimline acoustic attenuator ideal for situations where space is restricted and high levels of sound absorption are not required. | The Ventüer AL-100 louvre system is a slimline acoustic attenuator ideal for situations where space is restricted and high levels of sound absorption are not required. | At 300mm deep, the Ventüer AL-300 louvre system is a mid-range acoustic attenuator suitable for use in situations where medium levels of noise reduction are required. | At 300mm deep, the Ventüer AL-300 louvre system is a mid-range acoustic attenuator suitable for use in situations where medium levels of noise reduction are required. | The Ventüer AL-450 louvre system is a 450mm deep, high performing acoustic louvre ideal for installations where high levels of noise reduction are required. | The Ventüer AL-450 louvre system is a 450mm deep, high performing acoustic louvre ideal for installations where high levels of noise reduction are required. | A high performing acoustic attenuator, the Ventüer AL-600 louvre system is 600mm deep and is designed for situations where maximum noise reduction is required. | A high performing acoustic attenuator, the Ventüer AL-600 louvre system is 600mm deep and is designed for situations where maximum noise reduction is required. | -
Face Velocity Calculation (Intake) - 1st | 0.282 | 0.4143 | 0.5357 | 0.4261 | 0.4502 | 0.4456 | 0.3187 | 0.2481
Face Velocity Calculation (Intake) - 2nd | 0.5069 | 0.495 | 0.4705 | 0.4844 | 0.4838 | 0.5073 | 0.5018 | 0.514
Face Velocity Calculation (Exhaust) - 1st | 0.2836 | 0.4143 | 0.5357 | 0.3909 | 0.4355 | 0.4774 | 0.3496 | 0.1978
Face Velocity Calculation (Exhaust) - 2nd | 0.5155 | 0.495 | 0.4705 | 0.5041 | 0.5492 | 0.5029 | 0.4875 | 0.5084
Pressure Drop Calculation (Intake) - 1st | 12.151 | 5.9325 | 3.7732 | 5.8202 | 5.2053 | 4.9234 | 9.7647 | 15.056 | 9.3264 | 8.0776 | 7.7931 | 9.443 | 7.6818 | 9.3617 | 8.8249 | 6.0256 | 11.281 | 4.9775 | 6.7358 | 4.4483 | 6.6375 | 4.5726 | 6.3192
Pressure Drop Calculation (Intake) - 2nd | 1.9719 | 2.0198 | 2.1244 | 2.0642 | 2.0667 | 2.0642 | 1.9928 | 1.9455 | 1.9663 | 1.9478 | 1.956 | 1.998 | 1.9492 | 1.9703 | 1.9855 | 2.0104 | 2.0094 | 2.0282 | 2.0612 | 2.0033 | 2.0251 | 1.9485 | 2.0296
Pressure Drop Calculation (Exhaust) - 1st | 11.54 | 5.9325 | 3.7732 | 6.4473 | 4.5439 | 4.3507 | 8.6429 | 24.227 | 9.2128 | 8.0776 | 7.7931 | 9.9125 | 7.6818 | 9.3617 | 8.8249 | 6.0256 | 11.281 | 4.9775 | 6.7358 | 4.4483 | 6.6375 | 4.5726 | 6.3192
Pressure Drop Calculation (Exhaust) - 2nd | 1.9384 | 2.0198 | 2.1244 | 1.9828 | 1.8204 | 1.9883 | 2.0505 | 1.967 | 2.0221 | 1.9478 | 1.956 | 1.9997 | 1.9492 | 1.9703 | 1.9855 | 2.0104 | 2.0094 | 2.0282 | 2.0612 | 2.0033 | 2.0251 | 1.9485 | 2.0296
Aerodynamic Classification (Intake) | Class 3 | Class 2 | Class 2 | Class 2 | Class 2 | Class 2 | Class 3 | Class 3 | Class 3 | Class 3 | Class 3 | Class 3 | Class 3 | Class 3 | Class 3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Aerodynamic Classification (Exhaust) | Class 3 | Class 2 | Class 2 | Class 2 | Class 2 | Class 2 | Class 3 | Class 4 | Class 3 | Class 3 | Class 3 | Class 3 | Class 3 | Class 3 | Class 3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Weathering Classification (Exhaust) | Class C | Class C | Class C | Class B | Class C | Class C | Class A | Class A | Class A | Class B | Class B | Class B | Class B | Class B | Class B | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0 | 91.6% | 90.3% | 82.3% | 95.8% | 91.3% | 91.9% | 99.6% | 100% | 99.9% | 97.7% | 97.7% | 97.7% | 97.7% | 97.7% | 97.7% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0.5 | 87.2% | 85.2% | 75.5% | 94% | 86.8% | 88.1% | 99.5% | 100% | 99.8% | 95.6% | 95.6% | 95.6% | 95.6% | 95.6% | 95.6% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1 | 82.7% | 82.1% | 71% | 92.6% | 82.1% | 83.6% | 99.5% | 100% | 99.8% | 93.6% | 93.6% | 93.6% | 93.6% | 93.6% | 93.6% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1.5 | 74.4% | 79.4% | 67% | 90.6% | 75.1% | 74.3% | 99.3% | 100% | 99.9% | 91.7% | 91.7% | 91.7% | 91.7% | 91.7% | 91.7% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2 | 53.1% | 77.8% | 62.8% | 88.2% | 54.9% | 68% | 98.8% | 100% | 99.9% | 87.7% | 87.7% | 87.7% | 87.7% | 87.7% | 87.7% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2.5 | 38.3% | 76.4% | 58% | 85.6% | 32.4% | 61.6% | 98.4% | 99.6% | 99.8% | 74.6% | 74.6% | 74.6% | 74.6% | 74.6% | 74.6% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
3 | 31.3% | 75.8% | 53% | 79.1% | 22% | 43.4% | 98.1% | 98.8% | 99.8% | 62.5% | 62.5% | 62.5% | 62.5% | 62.5% | 62.5% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
3.5 | 26.9% | 71.5% | 44.4% | 72.2% | 17.9% | 25.4% | 95.7% | 97.3% | 99.7% | 51% | 51% | 51% | 51% | 51% | 51% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Frame Thickness | 25 | 25 | 25 | 25 | 60 | 60 | 60 | 60 | 25 | 60 | 60 | 60 | 60 | 60 | 60 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Bottom Blade Height | 55 | 100 | 77 | 77 | 100 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 185 | 185 | 185 | 185 | 185 | 185 | 185 | 185
Blade free area | 42% | 53% | 60% | 61% | 59% | 48% | 46% | 44% | 50% | 48% | 48% | 48% | 48% | 48% | 48% | 43% | 31% | 43% | 31% | 43% | 31% | 43% | 31%
Face area of test sample (M2) | 1.0754 | 1.0723 | 0.89853 | 0.89474 | 1.1128 | 1.1706 | 0.9215 | 1.1706 | 0.94663 | 1.0945 | 1.0945 | 1.0945 | 1.0945 | 1.0945 | 1.0945 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8
Active area of test sample (M2) | 0.94456 | 0.89733 | 0.75772 | 0.75423 | 0.836 | 0.9348 | 0.7138 | 0.93476 | 0.829 | 0.86727 | 0.86727 | 0.86727 | 0.86727 | 0.86727 | 0.86727 | 1.4085 | 1.4085 | 1.4085 | 1.4085 | 1.4085 | 1.4085 | 1.4085 | 1.4085
Active area % of test sample | 87.84% | 83.69% | 84.33% | 84.3% | 75.13% | 79.86% | 77.46% | 79.86% | 87.57% | 79.24% | 79.24% | 79.24% | 79.24% | 79.24% | 79.24% | 78.25% | 78.25% | 78.25% | 78.25% | 78.25% | 78.25% | 78.25% | 78.25%
Link
BS:EN13030 Classification
Percentage of effectiveness | Classification
99% | Class A
95% | Class B
80% | Class C
0% | Class D
N/A | N/A
Backing Screen Pressure Loss Rates
Volumetric Flow Rate (M3/S/M2) | 0.49999 | 0.99999 | 1.5 | 2 | 2.5 | 3 | 3.5
Bird Mesh Extra Pressure Loss (Pa) | 0.2 | 0.8 | 1.75 | 3.2 | 5.2 | 7.5 | 10.2
Insect Mesh Extra Pressure Loss (Pa) | 0.4 | 1.5 | 3.1 | 5.9 | 10 | 15 | 19.5